Contents

1.10 Safety and performance related information on the device:	2

1. Animal or human cells, tissues, or derivatives.	2

2. Cells, tissues, or derivatives of microbial recombinant origin.	2

3. Irradiating components.	2

2. DEVICE DESCRIPTION & PRODUCT SPECIFICATION, INCLUDING VARIANTS & ACCESSORIES	2

2.1 Descriptive information for the device	2

## 1.10 Safety and performance related information on the device:

Provide the safety and performance-related details for the TDE Series - 86°C Ultra-Low Temperature (ULT) Freezer as follows:

- (a) State whether there are any reportable events or field safety corrective actions (FSCAs) since the device's introduction. If none, mention that this section is not applicable as there are no reportable events or field safety corrective actions (FSCAs) and provide the date of introduction.

- (b) Confirm that the device does not contain any of the following:

# 1. Animal or human cells, tissues, or derivatives.

# 2. Cells, tissues, or derivatives of microbial recombinant origin.

# 3. Irradiating components.

Respond only with the required details in the following format: (a) [Details about reportable events and FSCAs]

(b) [Confirmation about the absence of specified components]

Do not repeat the instructions, do not include subheadings, and do not add any unnecessary explanations.

# 2. DEVICE DESCRIPTION & PRODUCT SPECIFICATION, INCLUDING VARIANTS & ACCESSORIES

## 2.1 Descriptive information for the device

Table 10: Product specification

| Model | Temp range (°C) | Capacity (L) | Refrigerant | Connectivity | Power cord specifications | Electrical (voltage, frequency, current) | Product capacity | Interior dimensions D x W x H (cm) | Exterior dimensions D x W x H (cm) | Shipping weight (kg) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TDE30086LA | -50°C to -86°C | 422 | R290 / R170+R290 Mix | RS485/4-20mA output/Dry Contacts | NEMA 5-20 / IEC Cords, 10 ft (3.05 m) | 115V, 60 Hz, 1 Phase | 300 Standard 2" Boxes | 130 x 45.2 x 71.9 | 198.1 x 58.4 x 97.8 | 323 |
| TDE30086LD | -50°C to -86°C | 422 | R290 / R170+R290 Mix | RS485/4-20mA output/Dry Contacts | NEMA 6-15P / IEC Cords, 10 ft (3.05 m) | 208-230V, 60 Hz, 1 Phase | 300 Standard 2" Boxes | 130 x 45.2 x 71.9 | 198.1 x 58.4 x 97.8 | 323 |
| TDE30086LV | -50°C to -86°C | 422 | R290 / R170+R290 Mix | RS485/4-20mA output/Dry Contacts | Country Dependant plug / IEC Cords, 10 ft (3.05 m) | 230V, 50 Hz, 1 Phase | 300 Standard 2" Boxes | 130 x 45.2 x 71.9 | 198.1 x 69.3 x 97.8 | 323 |
| TDE40086LA | -50°C to -86°C | 549 | R290 / R170+R290 Mix | RS485/4-20mA output/Dry Contacts | NEMA 5-20 / IEC Cords, 10 ft (3.05 m) | 115V, 60 Hz, 1 Phase | 400 Standard 2" Boxes | 130 x 58.7 x 71.9 | 198.1 x 71.9 x 97.8 | 312 |
| TDE40086LD | -50°C to -86°C | 549 | R290 / R170+R290 Mix | RS485/4-20mA output/Dry Contacts | NEMA 6-15P / IEC Cords, 10 ft (3.05 m) | 208-230V, 60 Hz, 1 Phase | 400 Standard 2" Boxes | 130 x 58.7 x 71.9 | 198.1 x 71.9 x 97.8 | 312 |
| TDE40086LV | -50°C to -86°C | 549 | R290 / R170+R290 Mix | RS485/4-20mA output/Dry Contacts | Country Dependant plug / IEC Cords, 10 ft (3.05 m) | 230V, 50 Hz, 1 Phase | 400 Standard 2" Boxes | 130 x 58.7 x 71.9 | 198.1 x 82.6 x 97.8 | 312 |
| TDE50086LA | -50°C to -86°C | 682 | R290 / R170+R290 Mix | RS485/4-20mA output/Dry Contacts | NEMA 5-20 / IEC Cords, 10 ft (3.05 m) | 115V, 60 Hz, 1 Phase | 500 Standard 2" Boxes | 130 x 73.2 x 71.9 | 198.1 x 86.4 x 97.8 | 333 |
| TDE50086LD | -50°C to -86°C | 682 | R290 / R170+R290 Mix | RS485/4-20mA output/Dry Contacts | NEMA 6-15P / IEC Cords, 10 ft (3.05 m) | 208-230V, 60 Hz, 1 Phase | 500 Standard 2" Boxes | 130 x 73.2 x 71.9 | 198.1 x 86.4 x 97.8 | 333 |
| TDE50086LV | -50°C to -86°C | 682 | R290 / R170+R290 Mix | RS485/4-20mA output/Dry Contacts | Country Dependant plug / IEC Cords, 10 ft (3.05 m) | 230V, 50 Hz, 1 Phase | 500 Standard 2" Boxes | 130 x 73.2 x 71.9 | 198.1 x 97 x 97.8 | 333 |
| TDE60086LA | -50°C to -86°C | 816 | R290 / R170+R290 Mix | RS485/4-20mA output/Dry Contacts | NEMA 5-20 / IEC Cords, 10 ft (3.05 m) | 115V, 60 Hz, 1 Phase | 600 Standard 2" Boxes | 130 x 87.4 x 71.9 | 198.1 x 100.6 x 97.8 | 372 |
| TDE60086LD | -50°C to -86°C | 816 | R290 / R170+R290 Mix | RS485/4-20mA output/Dry Contacts | NEMA 6-15P / IEC Cords, 10 ft (3.05 m) | 208-230V, 60 Hz, 1 Phase | 600 Standard 2" Boxes | 130 x 87.4 x 71.9 | 198.1 x 100.6 x 97.8 | 372 |
| TDE60086LV | -50°C to -86°C | 816 | R290 / R170+R290 Mix | RS485/4-20mA output/Dry Contacts | Country Dependant plug / IEC Cords, 10 ft (3.05 m) | 230V, 50 Hz, 1 Phase | 600 Standard 2" Boxes | 130 x 87.4 x 71.9 | 198.1 x 111.3 x 97.8 | 372 |